Hydraulic UTM with PC Based control and measurement system

|  | Name of the equipment: Hydraulic UTM with PC Based control and measurement system Make & Model: Make: Hydraulic engineering and instruments & Model: HL-590.25 I-Stem Registration ID- ……………… Category of Instrument (Advanced Manufacturing facility / Characterization and Testing / Computational Facility / Bioscience and Technology / Sample preparation) Types of Analysis / Testing Compression, Tension, bending etc Application: It has to be planned based on the need Description of Instrument This machine is designed to evaluate the mechanical properties of materials by conducting various tests, including tensile, compression, bending |
| --- | --- |

Booking Details

| Book through I-STEM: https://www.istem.gov.in/ Slot Booking Link I-STEM Slot Booking link for External User |  | Booking available for Internal and External Both Requisition form for Internals Contact Details Externals |  |
| --- | --- | --- | --- |
| Faculty In-charge: Dr. Jayachandran K Email ID: jk@nitc.ac.in Phone number: +91944226441 | Technical Staff: Noushad K K (TA) noushadkk@nitc.ac.in Jeyeshkumar (TA) jeyesh@nitc.ac.in Nithya B S (TA) nithyabs@nitc.ac.in |  | Department CED Office Email ID cedoffice@nitc.ac.in Location Structural laboratory, Department of Civil engineering Lab Phone No 04952286840 |  |

Features, Working Principle and Specifications

| Features of the equipment - Easy cross head movement on the two pillars to adjust the gap with easy operation for specimen as per requirement. - Easily changeable Hydraulically operated Grips for Tension test. - Fully Computer Controlled operation with User friendly Software. - Controlling on both Load (kN/sec)/stress (N/mm2/sec), Displacement (mm/sec) or Strain Control basis. - Facility to study Post failure behaviors of specimens. - Inching/Release operation to set Sample. - Auto release facility after specimen failure. | Unique features/Measurement capabilities, if any - Fully Automatic Servo Controlled Universal Testing Machine with hydraulically operated open crosshead and front loading jaws |
| --- | --- |
| Instrument Technical Description and Major Specifications (This Specifications Limited to Major 5) - PC-based digital control system for precise operation and data acquisition | Measurement/Sample specifications:  Universal testing machine for concrete typically have a load capacity upto 1000 kN, |

Type of Sample Required for Analysis / Testing (Quantity, Pre-Preparation, State etc.) Guidelines for Sample Submission – User Instructions

- The particular focus on concrete specimens such as cylinders, beams, or cubes Test Specimen Sizes: Concrete cylinders (e.g., 150 mm x 300 mm or 100 mm x 200 mm). Concrete cubes (e.g., 150 mm or 100 mm sides). Concrete beams (usually 150 mm x 150 mm x 700 mm, 100 x 100 x 500 mm or custom sizes). - Steel sample – subject to suitable grip availability for the given diameter

User Charges Rs. (GST Extra)

| Internal | External Academic Institutes | National R&D Lab | Industry |
| --- | --- | --- | --- |
| 1000/- per hour | 2000/- per hour | 3000/- per hour | 4000/- per hour |