Computerised Static Triaxial equipment

Booking Details

|  | Name of the equipment: Computer Controlled Triaxial Make & Model: HEICO I-Stem Registration ID- …………………….. Category of Instrument Geotechnical Engineering Types of Analysis / Testing Soil Sample Application: To get shear strength of soil. Description of Instrument Static triaxial testing CU & UU tests |
| --- | --- |

| Book through I-STEM: https://www.istem.gov.in/ Slot Booking Link I-STEM Slot Booking link for External User | Booking available for Internal and External Both Requisition form for Internals Externals |
| --- | --- |

Contact Details

| Faculty In-charge: Dr. Anil Kumar Email ID: kumaranil@nitc.ac.in Phone number: +91-8722609983 | Technical Staff: Nayana P nayanap@nitc.ac.in Lini Ignatius C liniignatiusc@nitc.ac.in Ajith Augusthy ajithaugusthy@nitc.ac.in | Department CED Office Email ID cedoffice@nitc.ac.in Location Geotechnical Lab, Department of Civil Engineering Lab Phone No 0495-2286245 |
| --- | --- | --- |

Features, Working Principle and Specifications

| Features of the equipment - Used for conducting Unconsolidated Undrained (UU), Consolidated Undrained (CU), and Consolidated Drained (CD) triaxial tests on soil specimens under static condition - Allows testing under different confining pressures (σ3) and axial loading conditions while maintaining controlled strain rates. | Unique features/Measurement capabilities, if any - Pressure Volume Controllers for measuring change in Volume & Constant Pressure |
| --- | --- |
| Instrument Technical Description and Major Specifications (This Specifications Limited to Major 5) - Load upto 50kN - LVDT displacement 0.01mm-50mm - Load cell 50kN - Pressure Sensor 0.01kg/cm2 to 10kg/cm2 - Universal Load Cell | Measurement/Sample specifications: - 38mm, 50mm and 75mm dia |

Type of Sample Required for Analysis / Testing (Quantity, Pre-Preparation, State etc.) Guidelines for Sample Submission – User Instructions

- All soil sample (Clay, Silt, Sand, etc) minimum 1 Kg

User Charges Rs. (GST Extra)

| Internal | External Academic Institutes | National R&D Lab | Industry |
| --- | --- | --- | --- |
| 1500/- per sample | 3000/- per sample | 3000/- per sample | 5000/- per sample |