|  |  |
| --- | --- |
|  | **Automotive CRDI Diesel Engine Test Rig**  **Name of the equipment:**  Automotive CRDI Diesel Engine Test Rig  **Make & Model:**  Mahindra, Jeeto (Engine No -UGN3H00251)  **I-Stem Registration ID-**    **Category of Instrument**  Heat Engines  **Types of Analysis / Testing**  Performance (Load Test), Combustion Analysis Charts (P-Ɵ, P-V etc), Heat Balance and Emission Test.  **Application:**  Diesel  **Description of Instrument**  The engine is a single cylinder, four stroke, water cooled with maximum 11.94 kW output at 3600 RPM. This engine can be operated with diesel for various injection schedules controlled by an open-ECU. |

**Booking Details**

|  |  |
| --- | --- |
| **Book through I-STEM:**  <https://www.istem.gov.in/>  **Slot Booking Link** | **Booking available for**  Internal and External Both  **Requisition form for**  [Internals](https://randc.nitc.ac.in/pdf/instruments/med/20.%20Internal.pdf)  [Externals](https://randc.nitc.ac.in/pdf/instruments/med/20.%20External.pdf) |

**Contact Details**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Faculty In-charge:**  Dr. Saleel Ismail  **Email ID:**  [saleel@nitc.ac.in](mailto:saleel@nitc.ac.in)  **Phone number:**  9884691904 | **Technical Staff:**  Pradeep Kumar K K kkp69@nitc.ac.in  Dhaneesh DC  dhaneeshdc@nitc.ac.in  Athul Krishna K R  [athulkrishnakr@nitc.ac.in](mailto:athulkrishnakr@nitc.ac.in)  Vasu TC  tcv74@nitc.ac.in  **Features, Working Principle and Specifications** | | **Department**  MED  **Office Email ID**  medoffice@nitc.ac.in  **Location**  Heat Engines Lab, Department of Mechanical Engineering  **Lab Phone No**  04952286456. | |
| **Features of the equipment**   * The engine is a single cylinder, four stroke, water cooled with maximum 11.94 kW output at 3600 RPM. | | **Unique features/Measurement capabilities, if any**   * This engine can be operated with diesel for various injection schedules controlled by an open-ECU. | |
| **Instrument Technical Description and Major Specifications (This Specifications Limited to Major 5)**   |  |  | | --- | --- | | Bore | 93 mm | | Stroke Length | 98 mm | | Displacement | 665 cc | | Max Power | 11.94 kW @3600 rpm | | Max Torque | 35 Nm @ 2200 rpm | | | **Measurement/Sample specifications:**   * Diesel | |

**Type of Sample Required for Analysis / Testing (Quantity, Pre-Preparation, State etc.) Guidelines for Sample Submission – User Instructions**

|  |
| --- |
| * Quantity: As per the type of test. * Sample should be in sealed condition with proper labelling. |

**User Charges Rs. (GST Extra)**

|  |  |  |  |
| --- | --- | --- | --- |
| **Internal** | **External Academic Institutes** | **National R&D Lab** | **Industry** |
| Rs. 500/ sample | Rs. 1000/ sample + GST | Rs. 3000/ sample + GST | Rs. 3000/ sample + GST |